A.Limited fuel

In the Indian Power sector, primarily electricity production is from thermal power stations. The main fuel used is coal. Coal fuels about 55% of India‟s power generation, and if current projections are accurate, that proportion will grow substantially in the next 20 years. Additional power generation is likely to require incremental amount of coal transportation by Indian Railways within the country and increasing unloading at ports in India for imported coal.

B.Equipment Shortage

Equipment shortages have been a significant reason for India missing its capacity addition targets for the 11th five year plan. While the shortage has been primarily in the core components of Boilers, Turbines and Generators, there has been lack of adequate supply of Balance of Plant (BOP) equipment as well. These include coal-handling, ash handling

plants, etc. Apart from these, there is shortage of construction equipment as well.

C.Land Acquisition and Environment Clearance

Land Acquisition poses an increasingly significant challenge in the Indian Power sector. Power plants and utilities face major constraints and delays regarding the availability of land and obtaining the requisite environment and other clearances for the projects. The new Bill relating to land acquisition has continued to face political opposition. While it provides for acquisition by project development agencies to the extent of 70 percent of theland required for a project,

with the balance to be obtained by the Government. In addition, it has been reported that in some cases, even after land owners were asked to sell and handover their land in „Public Interest‟, the project was not completed for several years due to other delays, a fact that eroded the credibility of both the industry and the government. Consequently there is a

significant mismatch of expectations from the Project Affected Persons (PAP).

D.Transmission & Distribution Losses

High distribution-line losses are among the most vexing problems in the Indian power sector. India‟s aggregate technical and commercial losses average about 32% of electricity which is very high as compared to those developed countries (6-11%). This is a matter of concern as well as potential for saving, which may reduce the demand supply gap. A reduction in Transmission & Distribution losses by 1% would result in a saving in capacity by about 800 MW.

E.Aging Power Plantsand Transmission network

Since most of the power plants and transmission lines have been installed immediately after the independence; they have become old and inefficient. This is the main reason for low growth and transmission rate in electricity generation and transmission during the recent years. Old and inefficient plants and lines need to be replaced or renovated and modernized to achieve the electricity production and demand target.

G.Interstate Disputes

India is a federal democracy, and because rivers cross state boundaries, constructing efficient and equitable mechanisms for allocating river flows has long been an important legal and constitutional issue. Due to this there is not availability of water all the times to operate hydro plants. Inter-state disputes also restrictthe excess power exchange between the states.

H.Delay in construction of projects

The commissioning of new power projects have been delayed for too long. The main reason behind this is the lack of financing and long route of money flow from the departments. They left most of the utilities to rot away even as they were lacing their own pocket. Hence the recent power sector has remained without any improvement.

I.Erratic monsoons

India is a big country with different geographical conditions. The monsoon in India is very erratic so that the hydro plants can‟t be operating during whole year. Many times, the depletion of the reservoirs causeda shortage in generation from the hydro plants.

J.Less inclination to renewable

India is abundantly gifted with variety of renewable energy (RE) sources, not all States are endowed with same level of renewable energy sources. While some States have very

high renewable energy potential, some States have very little renewable energy potential.

But still the renewable resources are not explored, having only approx. 10% of total energy

generation.