## Slide 1
Controls

## Slide 2: Water Level Control
Constant water level in tank
Electrically operated float control

## Slide 3: High Pressure Cut Out

## Slide 4: Low Pressure Cut Out

## Slide 5: Thermostat

## Slide 6: Over Load Protector
OLP Single phase
OLP three phase

## Slide 7
Charging & Testing

## Slide 8: Charging of Refrigerant

## Slide 10: Testing
SO2 testing- Ammonia soaked cloth placed to the joints
NH3 testing- sulphur candle flame gives white smoke
Freon testing-halide torch is brought near the leaking joint, gives a green hue which is indication of leakage
Isobutane & methyl chloride testing- a thick soap solution used near the joint, bubbles gives indication of leakage
Electronic testing.

## Slide 11
Cascade
System

## Slide 12: Cascade System